September 24, 2014

WBC MANUAL DIFFERENTIAL ORDERING CHANGE

TEST: White Blood Cell Differential - manual

EXPLANANTION OF CHANGE:     Effective 10/20/2014, all white blood cell differentials will be performed by the automated analyzer.  Manual WBC differentials will be generated by reflex rules based on the guidelines and standards of The International Society for Laboratory Hematology (ISLH) and the Clinical and Laboratory Standards Institute (CLSI).   Provider generated manual differential will be discontinued as an orderable test.

___________________________________________________Date_____________________________

Dr. Beth Plocharczyk, Laboratory Assistant Medical Director

___________________________________________________Date _____________________________

Dawn Cornwall, Laboratory Manager of Clinical Operations